NAEP  2008  - EXHIBITION

1.  B.E.S Rehab    Tel 0845 1300 273      www.pencomedical.com

This company make off the shelf and custom made cushions.

They also make walker glides, clever little plastic devices, which clip into the rear two legs of a wheeled walking frame, allowing the frame to glide more easily over differing floor surfaces or on uneven surfaces if used out side.

The device is made from plastic and steel so it won’t rust and they do not compromise the stability of the frame. Price £11.99

2.  Frontier Medical

The new seating system being looked at for incliner/recliner chairs is currently with the R and D department.  The company are grateful for the feedback from the last ERG and looking in greater depth at the fixation points for the straps.

3.  Oxford

The oxford Ascend has both a standing sling and transport sling.

4.  1st Call Mobility

Now have a new bath step, takes up to 30stone.

The large super safe toilet surround (female and male design) is available in different heights and is therefore suitable to be used in disabled toilets. They have also proved to provide a good transfer surface for double amputees.

The Tri Pose cushion is a new bariatric cushion, which starts at a 20 inches and can go up in 4-inch increments. £425.00,takes up to 40stones.

As a company, they always take out their own scales and weigh the client.

Ist call mobility scales travel well, price £800

Cocoon, straps to the bed, available in soft or ridged foam.  Head end of the bed can be profiled with the product in situ, price, £575.  For evacuation purposes, the strap can be undone and the whole product pulled off the bed with the person in it.

N.B This Company may be worth considering when a bespoke bariatric chair is required; they are cheaper than Gordon Rehab.

5.Aquajoy

A sample of the Aquajoy saver bath lift has been agreed for trial purposes as a comparison alongside the Neptune.

6. Parkhouse

The Memaflex mattress is now manufactured at a slightly reduced width.

Having experienced recent problems with the corners of the covers splitting, it appears they used to be made with a sewn seam at each corner.  The latest version of the cover is welded.

Working in conjunction with the cleaning room staff, an audit may need to be undertaken to monitor the situation.

Parkhouse now have a Bariatric Delta Plus mattress, which takes up to 50 stones, costs £3950.00

7. Affordable Care Co Ltd  Tel. 0121  455 0819   affcareco@agol.com

4 inch raised toilet seats with lid, now selling direct to Argos.  Price direct £8.00

They also provide Bariatric equipment

Look on their website for a different tap rail, bath tub rail and bed rail

8.Ultimate Healthcare  Tel.  0870 4286295

Tamora plus  £500- active overlay system

9.Aidapt

Constella Perching stool. Blue moulded seat. with removable back, arms. Less than £20.00.

StrolleyTrolley.  Can be broken down into separate parts, ideal for storage or for transportation in the car.  Price between £18 and £20

Swivel bather has been redesigned since two years ago, now has handles on both sides of the seat for L or R handed use.  Weight limit 24stones.

10. Welland Medical

Patient turner/Orbital seater, this has now been redesigned so that the ball bearings on the underside of the base plate, sit within an inset groove which is

then covered by a metal plate.  Water is a lot less likely to come into contact with the

bearings as is happening with the current models. The central screw on the rubber mat is no longer there.

Spray paint can be used to touch up the paintwork.

Perching stools, comfy seat, allows water to roll off

11. Smit Care

Medeci Pillow Lifter comes with two covers with a pillow pocket sewn in to stop the pillow sliding down. Two feet six inches in width. £175.00

DeamMaster Mark 11, slight changes to the product previously demonstrated at a former ERG

12. Lisclare

The new Dali bed is now compatible with a range of mattresses in conjunction with the integral bed rails.

There is a 3inch bed rail extension now available, costing £75

The company are prepared to come to the store with their entire range to go through the best solution as to making the bed rails safe with our mattress product range.

13. Gerald Simonds Healthcare Ltd

Awaiting advice from the company as to what to say to referrers about changing the quantities of the fillers within the mattresses and cushions.

Cushions now have the correct amount of fillers stated on the cushions label.  They will consider providing the same information for the mattresses.

The company will get back to us with the correct temperatures that the products can be cleaned at.

14.Scan Mobility

Clini Dyne turning mattress.  This is a mattress replacement, High risk, can profile. £4,500

15.Cefndy

Perching stool with a textured surface and curved edge.  £26.00

16.Home Craft

Parnel Bed rail £136.00.  This clamps to the base of a divan bed or an electric bed which can be used in profile but not if the bed is height adjusted.

17. Roma Medical

Anti bacterial covering being used on rails.  Makes manufacturing process slightly more expensive.

There is no guidance from one manufacturer to another as to where the length of the rail is taken from.

18. Sidhil

Sidhil have now brought out a Bed, Mattress and Accessory Guide booklet.

A plastic MAKE IT SAFE side rail gauge is now available from the company

J.Green 18.07.08